## Slide 1
FLIM - Detector
( Fluorescence lifetime imaging)
—Molecular interraction (FRET)
— intracellular pH
etc. etc etc
Pulsed IR-laser
( Multiphoton exitation)
— Intracellular Tracking
— Uncaging & Photostimulation
— Low photodamage
— “Spectral freedom” (tunable)
etc. etc etc
Confocal
SUPER-RESOLUTION
Les besoins
(Technologiquement parlant)
Lambda Imaging
Motorized stage
White laser
CO2 chamber
Z- Drift Compensation
Second-Harmonic

## Slide 2
FL1
F
FL2
FL1
FRET
1-10 nm
Time (ns)
Fluorescence-Lifetime Imaging (FLIM)
Free
Coupled

## Slide 3
400 nm
Fluorescence
Jablonski
diagram
450 nm

## Slide 4
400 nm
Fluorescence (true)
Jablonski
diagram
450 nm

## Slide 5
Fluorescence-Lifetime Imaging (FLIM)
Lin HJ et al. Cytometry A. 2003
Fluorescence lifetime-resolved pH imaging of living cells.
Alpy F et al. J Cell Sci. 2013
STARD3 or STARD3NL and VAP form a novel molecular tether between late endosomes and the ER.
Molecular Interactions
Intracellular pH

## Slide 6
Fluorescence-Lifetime Imaging (FLIM)
Drugs release
Basuki JS et al. Nano. 2013
Using fluorescence lifetime imaging microscopy to monitor theranostic nanoparticle uptake and intracellular doxorubicin release.
Intracellular Ca++
Sagolla K et al. Anal Bioanal Chem. 2013
Time-resolved fluorescence microscopy for quantitative Ca2+ imaging in living cells.

## Slide 7
Multiphoton exitation
800 nm
800 nm
1200 nm
1200 nm
1200 nm
400 nm
Dr. Maria Göppert-Mayer : theory of two-photon quantum transitions
(two-photon absorption and emission) 1931,
Jablonski
diagram
450 nm

## Slide 8
Prof. Watt W. Webb et al.
Two-photon laser scanning
fluorescence microscopy: 1990
Femtosecond pulsed laser & Spatial photon concentration

## Slide 9
Luo at al. Cell Structure and Function 2006, 31: 63
Comparison of photoactivation of PA-GFP in vivo with single-photon (405 nm) and multiphoton (790 nm) laser light.
Photoconversion
Excitation area

## Slide 10
Conventional / Confocal / Biphoton

## Slide 11
Anisotropic optical properties of molecules
Multiphoton polarization microscopy
polarizator
“Biphotonic”
Laser
Linear dichroism

## Slide 12
Biphoton polarization microscopy
Cell expressing GAP43-CFP-Gαi2 and α2a-adrenergic receptor
G-proteins orientation
+ Norepinephrine
Base line
Lazar J et al. Nat Methods. 2013
Two-photon polarization microscopy reveals protein structure and function

## Slide 13
O
F
F
A
B
B1
A1
Magnifying

## Slide 14
)))))))))))))
)))))))))))))
))))))))
)))))))))))))
Diffraction

## Slide 15
Airy disk
Diffraction

## Slide 16
Resolution
?
?

## Slide 17
Resolution
Abbe diffraction limit
Abbe Resolutionx,y = λ/2NA
Numerical Aperture
NA = n•sin(θ)
n - refractive index of the imaging medium ( air, oil)
θ - aperture angle (1,4 in the best case)
D = 0.2 µm

## Slide 18
Near-field optical microscopy

## Slide 19
Near-field optical microscopy
special ($)1.78 refractive index coverslips
special ($ $) 1.78 refractive index oil
special ($ $ $) objective 100x 1.65NA

## Slide 20
Near-field optical microscopy

## Slide 21
Total internal reflection
Θ1
Θ2
The critical angle is the angle of incidence above which the total internal reflectance occurs
Evanescent wave
≈100 nm

## Slide 22
Total Internal Reflection Fluorescence Microscopy (TIRF)
McKinney et al.Nature Methods 6, 131 - 133 (2009)
5 µm
1 µm
Up to 20 nm of lateral resolution and 2–5 nm of axial resolution

## Slide 23
Structured Illumination Microscopy
The Moire effect
+
=
-
=

## Slide 24
Structured Illumination Microscopy

## Slide 25
Structured Illumination Microscopy
Up to 100 nm of lateral resolution and 300 nm of axial resolution

## Slide 26
Switch to nonfluorescente state
550 nm
Triplet state
Non fluorescent
Fluorescence
Jablonski
diagram
600 nm

## Slide 27
PA-GFP
Emission
Desactivation
Emission
Desactivation
Super-resolution
Optical Fluctuation Imaging (SOFI)

## Slide 28
Super-resolution
Optical Fluctuation Imaging (SOFI)
Fast, background-free, 3D super-resolution optical fluctuation imaging (SOFI).
Dertinger T, Colyer R, Iyer G, Weiss S, Enderlein J.
Proc Natl Acad Sci U S A. 2009
The second-order correlation function
t1
:
:
:
:
tn
t1
:
:
:
:
tn

## Slide 29
Super-resolution
Optical Fluctuation Imaging (SOFI)
Fast, background-free, 3D super-resolution optical fluctuation imaging (SOFI).
Dertinger T, Colyer R, Iyer G, Weiss S, Enderlein J.
Proc Natl Acad Sci U S A. 2009
Up to 50 nm of lateral resolution and ? nm of axial resolution

## Slide 30
Super-resolution
Bleaching Assisted Localization Microscopy(BALM)
t1
:
:
:
:
tn
t1
:
:
:
:
tn
Fast, Bleaching/blinking assisted localization microscopy for
superresolution imaging using standard fluorescent molecules.
Burnette DT, Sengupta P, Dai Y, Lippincott-Schwartz J, Kachar B.
Proc Natl Acad Sci U S A. 2011 Dec 27;108(52):21081-6

## Slide 31
Up to 50 nm of lateral resolution and ? nm of axial resolution
Super-resolution
Bleaching Assisted Localization Microscopy(BALM)
Fast, Bleaching/blinking assisted localization microscopy for
superresolution imaging using standard fluorescent molecules.
Burnette DT, Sengupta P, Dai Y, Lippincott-Schwartz J, Kachar B.
Proc Natl Acad Sci U S A. 2011 Dec 27;108(52):21081-6

## Slide 32
Fluorescence Localization Microscopy

## Slide 33
PA-GFP
PA-GFP
Fluorescence Photoactivation Localization
Microscopy
PA-GFP
Emission
Localization
(calculation)
Total Photobleaching
Stochastic Activation

## Slide 34
Fluorescence Photoactivation Localization
Microscopy (PALM)
Hess, S.T., T.P. Girirajan, and M.D. Mason. 2006. Ultra-high resolution imaging by fluorescence photoactivation localization microscopy. Biophys J. 91(11):

## Slide 35
ZHUANG LAB/HARVARD UNIV.
Fluorescence Photoactivation Localization
Microscopy
Up to 30 nm of lateral resolution and 150 nm of axial resolution

## Slide 36
Switch to nonfluorescente state
550 nm
Triplet state
Non fluorescent
Fluorescence
Jablonski
diagram
600 nm
400 nm
Thiols
(R-SH)
Ground state depletion
Ground state

## Slide 37
FITC
FITC
Ground State Depletion Microscopy
direct Stochastic Optical Reconstruction Microscopy
FITC
Stochastic Activation
Localization
(calculation)
Emission
Total Deactivation
(Ground State Depletion)

## Slide 38
Ground State Depletion Microscopy

## Slide 39
doughnut-shape
+
=
Stimulated emission depletion
488 nm
520 nm

## Slide 40
Stimulated emission depletion
(STED)
Up to 50 nm of lateral resolution and 500 nm of axial resolution

## Slide 41
Point Spread Function
Z
Working distance

## Slide 42
Point Spread Function
PSF describes the imaging system response to a point input
Z
In microscopy the point spread functions is asymmetric due to lens imperfections

## Slide 43
Confocal PSF
WF
CF

## Slide 44
Schermelleh L et al. J Cell Biol 2010;190:165-175
Super-Resolution Microscopy
50
100
gSTED 3X
___
_____
2013
___
50
___
Biplan

## Slide 45
Biplan Localization Microscopy
+ 400 nm
- 400 nm
0
Cylindrical
lens

## Slide 46
Biplan Localization Microscopy
Vutara, Inc..

## Slide 47
+
=
X Y
X Y Z
Stimulated emission depletion 3X

## Slide 48
Stimulated emission depletion
(STED 3X)
Up to 50 nm of lateral and axial resolution

## Slide 49
Schermelleh L et al. J Cell Biol 2010;190:165-175
Super-Resolution Microscopy
50
100
gSTED 3X
___
_____
2013
___
50
___
Biplan